Abstract— Ultrasonic imaging systems commonly used in medical and industrial applications, have not reached their full-potential in performance with respect to temporal, and in some cases, spatial resolution.  This is mainly due to inherent limitations associated with present systems requiring line-serial image reconstruction and the limitations on the use of ‘effective’ aperture.  In this talk, these limitations associated with the present technology is discussed and an alternative approach to imaging, using electronic and acoustoptical signal processing is demonstrated.  The resulting hybrid system has achieved the highest possible speed of ultrasound imaging, exceeding 1000 frames per second (compared to ~50 with existing systems) with focused high-resolution images of the complete object field with every single insonifying pulse.

Ultrasonics Imaging – Advancements in Non-conventional Methods.

G.P.P. Gunarathne

School of Engineering, The Robert Gordon University UK,

E-mail: g.gunarathne@rgu.ac.uk

Index Terms— Ultrasonics Imaging, Acousto-optical signal processing, Ultrasonic Transducers and Arrays, Hi-speed Stroboscopy,  High-performance electronics.

About the Speaker:

Dr. G.P.P. Gunarathne received his Bachelors degree from the University of Sri Lanka.  In recognition to his pioneering work in developing test instruments, he was then awarded a United Nations Development Organisation Fellowship to further his work at Loughborough University of Technology, U.K, where he received his MSc degree in Instrument Technology in 1980.  He was then sponsored by the United Kingdom Atomic Energy Authority to continue his research work at Loughborough University and received his PhD in electronic engineering for research and development of a (patented) high-speed ultrasonic imaging system for inspection of nuclear pressure vessels.  He then continued research at the Loughborough University of Technology on various industrial projects in electronics, ultrasound and sonar, sponsored by Industry and United Kingdom Ministry of Defence.

Presently, Dr Gunarathne is a lecturer in electronics and instrumentation at the School of Engineering of the Robert Gordon University, Aberdeen, UK, and head of the Industrial & Biomedical Instrumentation Research Group.  He has gained over 30 years of combined experience in high-speed electronic circuit design, ultrasonic engineering, industrial and biomedical instrumentation, Non Destructive Testing and working as a consultant for offshore petroleum engineering projects developing novel techniques for pipeline inspection.  His work has been widely published and recognised with recent developments receiving media coverage in television, radio and in the press.